## Slide 1: EE316L GROUP-2
L-C Meter Project
By Necmettin Yigit DUBEK & Harun DURMUS

## Slide 2: INTRODUCTION
What is the main purpose?
Contents of the procedure

## Slide 3: BASIC OSCILLATOR CIRCUITS
  555 IC Timer Integrated Circuits and Astable Operation
  Circuit Design

## Slide 4: BASIC OSCILLATOR CIRCUITS
  555 IC Timer Integrated Circuits and Astable Operation
  Circuit Design

## Slide 5: PHASE OR TIME DELAY
Voltage Buffer Operation
LTSpice IV Design

## Slide 6: PHASE OR TIME DELAY
Voltage Buffer Operation
LTSpice IV Design

## Slide 7: PHASE DETECTION AND COMPARISON
Phase Comparison
Phase Difference Measurement
Accuracy of Measurements
Low-Pass Filtering

## Slide 8: PHASE DETECTION AND COMPARISON
Phase Comparison
Phase Difference Measurement
Accuracy of Measurements
Low-Pass Filtering

## Slide 9: PHASE DETECTION AND COMPARISON
Phase Comparison
Phase Difference Measurement
Accuracy of Measurements
Low-Pass Filtering

## Slide 10: PHASE DETECTION AND COMPARISON
Phase Comparison
Phase Difference Measurement
Accuracy of Measurements
Low-Pass Filtering

## Slide 11: LTSPICE IV vs. PROTEUS
Real Life Similarity
Challenging Simulations
LCD Display Libraries
Capability for PCB Layout Design
Project Design in Proteus

## Slide 12: LTSPICE IV vs. PROTEUS
Real Life Similarity
Challenging Simulations
LCD Display Libraries
Capability for PCB Layout Design
Project Design in Proteus

## Slide 13: CIRCUIT DESIGN WITH PROTEUS
Reducing Order of Low-Pass Filter
Non-negligible Increase in Measurement Errors
Using Several Linear Equations
Sample Measurements

## Slide 14: CIRCUIT DESIGN WITH PROTEUS
Reducing Order of Low-Pass Filter
Non-negligible Increase in Measurement Errors
Using Several Linear Equations
Sample Measurements

## Slide 15: SAMPLE MEASUREMENTS

## Slide 16: ANALOG TO DIGITAL CONVERTERS
Relationship Between Sensivity and Bit Numbers

## Slide 17: CONVERTING BINARY NUMBERS TO DECIMAL
Processing mV Values
Defining If-Else Conditions
Using LCD Library Functions

## Slide 18: CONVERTING BINARY NUMBERS TO DECIMAL
Processing mV Values
Defining If-Else Conditions
Using LCD Library Functions

## Slide 19: FEEDBACK EXTENSION FOR NOISY MEASUREMENT CONDITIONS
Feedback Design
Case: Sinusoidal Noise

## Slide 20: FEEDBACK EXTENSION FOR NOISY MEASUREMENT CONDITIONS
Feedback Design
Case: Sinusoidal Noise

## Slide 21: FEEDBACK EXTENSION FOR NOISY MEASUREMENT CONDITIONS
Feedback Design
Case: Sinusoidal Noise

## Slide 22: CONCLUSION
Project Objective: Accurate L-C Meter Circuit
(2% Error Rate)
Challenges and Modifications
Feedback Extension Considerations
Achieving Objective
Reliability and Effectiveness

## Slide 23: THANK YOU FOR LISTENING...